## Measurements
SysConst | AvgTime | Oxygen
| 4 | 21
ChambConst | Chamber | Aperture | blc_a | blc_b | blc_c | blc_d | blc_e | blc_minS | blc_maxS | blc_Po
| 6800-01A | 6 cm² | 0.578 | 0.52297 | 0.0037403 | -0.06198 | -0.0056086 | 1 | 6 | 96.9
LTConst | deltaTw | fT1 | fT2 | fTeb
| 0 | 1 | 0 | 0
LQConst | Leaf | Ambient | abs_ambient | abs_redLED | abs_greenLED | abs_blueLED | abs_whiteLED | abs_redFlr | abs_blueFlr | k_ambient | k_redLED | k_greenLED | k_blueLED | k_whiteLED | k_redFlr | k_blueFlr
| standard | Sun+Sky | 0.49 | 0.84 | 0.7 | 0.87 | 0.75 | 0.84 | 0.87 | 0.39 | 0.18 | 0.23 | 0.26 | 0.21 | 0.19 | 0.25
QConst | fQ_Amb_in | fQ_Amb_out | fQ_HeadLS | fQ_ConsoleLS | fQ_Flr
| 0 | 0 | 0 | 0 | 1
LeakConst | fan_a | fan_b | fan_c | fan_d | Fs_meas | Fs_true | leak_wt
| -6276 | 6.6 | 1.709e-05 | 3.11 | -6.26773 79.3738 373.649 623.669 871.262 1078.41 1290.35 1443.42 | 0.106019 100.852 402.549 601.823 801.282 1001.2 1201.19 1400.83 | 0
Sys | Sys | Sys | Sys | Sys | UserDefCon | UserDefCon | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | GasEx | Leak | Leak | Leak | Leak | Leak | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | FLR | LeafQ | LeafQ | LeafQ | LeafQ | Const | Const | Const | Const | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | Meas | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrLS | FlrStats | FlrStats | FlrStats | FlrStats | FlrStats | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | MchEvent | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | Stability | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | MchStatus | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status | Status
obs | time | elapsed | date | hhmmss | accession | rep | TIME | E | A | Ca | Ci | Pci | Pca | gsw | gbw | gtw | gtc | Rabs | TleafEB | TleafCnd | SVPleaf | RHcham | VPcham | SVPcham | VPDleaf | LatHFlux | SenHFlux | NetTherm | EBSum | Leak | LeakPct | CorrFact | CorrFactPct | Fan | DarkAdaptedID | Qmax_d | Fo | Fm | Fv | Fv/Fm | Adark | LightAdaptedID | Qmax | Fs | Fm' | PhiPS2 | PS2/1 | Qabs_fs | Afs | ETR | Fv'/Fm' | PhiCO2 | NPQ | DarkPulseID | Fo' | Fv' | qP | qN | qP_Fo | qN_Fo | qL | 1-qL | Qin | Qabs | alpha | convert | S | K | Geometry | Custom | TIME | CO2_s | CO2_r | H2O_s | H2O_r | CO2_a | H2O_a | Flow | Pa | ΔPcham | Tair | Tleaf | Tleaf2 | Offset | Offset2 | Fan_speed | Qamb_in | Qamb_out | Q | f_red | f_blue | f_farred | F | Q_modavg | F_dc | Pc | Tled | TDigital | TPreamp | TPwrSpy | TDrive | Q_red | Q_blue | Q_farred | TSPF | state | F_avg | dF/dt | dF_dc/dt | F_dc_avg | period | time | hhmmss | co2_t | h2o_t | count | co2_adj | h2o_adj | co2_match | h2o_match | co2_at | h2o_at | co2_cv | h2o_cv | A:MN | A:SLP | A:SD | A:OK | ΔCO2:MN | ΔCO2:SLP | ΔCO2:SD | ΔCO2:OK | ΔH2O:MN | ΔH2O:SLP | ΔH2O:SD | ΔH2O:OK | Stable | Total | State | MatchValveR | MatchValveS | MatchCO2 | MatchH2O | cf_co2_a | cf_co2_b | cf_co2_c | cf_co2_d | cf_h2o_a | cf_h2o_b | cf_h2o_c | cf_h2o_d | co2_fit_low | co2_fit_high | h2o_fit_low | h2o_fit_high | co2_elapsed | h2o_elapsed | DIAG | Flow_s | Flow_r | Txchg | Tirga | Tchopper | Ts | Tr | CO2_% | Desiccant_% | Humidifier_% | Txchg_sp | CO2_r_sp | H2O_r_sp | SS_s | SS_r
| s | s |  |  |  |  | s | mol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol mol⁻¹ | µmol mol⁻¹ | Pa | Pa | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | mol m⁻² s⁻¹ | W m⁻² | °C | °C | kPa | % | kPa | kPa | kPa | W m⁻² | W m⁻² | W m⁻² | W m⁻² | µmol s⁻¹ | % |  | % | µmol s⁻¹ | [6 empty] | µmol m⁻² s⁻¹ | [6 empty] | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | µmol µmol⁻¹ | [10 empty] | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  | J/µmol | cm² |  |  | mol m⁻² s⁻¹ | s | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | µmol s⁻¹ | kPa | kPa | °C | °C | °C | °C | °C | rpm | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ |  |  |  |  | µmol m⁻² s⁻¹ |  |  | °C | °C | °C | °C | °C | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ | s |  |  | min⁻¹ | min⁻¹ |  | s | secs |  | s | s |  | µmol/mol | mmol/mol | µmol/mol | mmol/mol | µmol/mol | mmol/mol | % | % | µmol m⁻² s⁻¹ | µmol m⁻² s⁻¹ min⁻¹ | µmol m⁻² s⁻¹ |  | µmol mol⁻¹ | µmol mol⁻¹ min⁻¹ | µmol mol⁻¹ |  | mmol mol⁻¹ | mmol mol⁻¹ min⁻¹ | mmol mol⁻¹ |  |  |  |  | % | % | µmol/mol | mmol/mol | mmol/mol |  |  |  | mmol/mol |  |  |  | µmol mol⁻¹ | µmol mol⁻¹ | mmol mol⁻¹ | mmol mol⁻¹ | min | min |  | µmol s⁻¹ | µmol s⁻¹ | °C | °C | °C | °C | °C | % | % | % | °C | µmol mol⁻¹ | mmol mol⁻¹ | % | %
1 | 1608241447.5 | 0 | 20201217 13:44:07 | 13:44:07 | 1149 | _1 | 1608241439.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RECT-4143-20200907-06_33_50 | 15552.9 | 715.4769 | 3262.08 | 0 | 0 | -0.57775 | RECT-607-20201217-13_44_04 | 15333.4 | 855.7873 | 948.79 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | DARK-608-20201217-13_44_06 | 602.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | 1608241439.5 | 401.5918 | 402.9398 | 20.0339 | 19.8059 | 402.6522 | 20.0393 | 500.2152 | 101.5989 | 0.099961 | 28.0043 | 28.2466 | 999.9 | 0 | 0 | 10003.2442 | 0 | 198.4839 | 1400.0065 | 0.9 | 0.1 | 0 | 855.8325 | 4.9998 | 12051.3323 | 11904.7194 | 48.625 | 51.187 | 49.812 | 50.187 | 49.792 | 1255.5052 | 139.5013 | 0 | 360 | 0 | 855.7873 | -10.3565 | -139.1009 | 12050.8038 | 15 | 1608240965.5 | 13:36:05 | 1608240965.5 | 1608240943 | 24 | -0.281 | -0.006 | -1.066 | -0.027 | 1217 | 19 | 0.15 | 0.11 | 1.0188 | 2.6478 | 0.19746 | 0 | -1.3266 | -3.1483 | 0.24216 | 0 | 0.22769 | 0.040833 | 0.0031416 | 1 | 1 | 3 | 1/3 | 100 | 100 | -1.061 | -0.0054 | -1.279 | 0.00081548 | -7.5072e-07 | 1.8443e-10 | -0.15693 | -0.013848 | 0.0014455 | -1.8822e-05 | 6 | 2177 | 1 | 25 | 8 | 8.4 | 2 | 506.022 | 459.095 | 22.783 | 32.6169 | 30.0006 | 32.5885 | 32.5561 | 20.2017 | 26.3205 | 0 | 22.7776 | 402.452 | 19.8309 | 101.045 | 100.54
2 | 1608241568 | 120.5 | 20201217 13:46:08 | 13:46:08 | 1149 | _1 | 1608241560.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RECT-4143-20200907-06_33_50 | 15552.9 | 715.4769 | 3262.08 | 0 | 0 | -0.57775 | RECT-609-20201217-13_46_05 | 15331.7 | 843.7237 | 916.42 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | DARK-610-20201217-13_46_07 | 611.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | 1608241560.25 | 50.0466 | 49.599 | 20.2159 | 19.8046 | 50.8456 | 20.2279 | 500.208 | 101.6065 | 0.09999 | 27.9976 | 28.2581 | 999.9 | 0 | 0 | 9997.2037 | 0 | 212.1567 | 1400.0053 | 0.89998 | 0.10002 | 0 | 843.7514 | 4.9998 | 11887.0233 | 11904.6567 | 48.7996 | 51.25 | 49.937 | 50.312 | 49.937 | 1255.4843 | 139.521 | 0 | 119.5 | 0 | 843.7237 | -2.1337 | -44.3769 | 11886.704 | 15 | 1608241598.5 | 13:46:38 | 1608241598.5 | 1608241585 | 25 | 0.441 | -0.001 | -0.799 | -0.012 | 50 | 20 | 0.36 | 0.09 | -0.021219 | -0.16955 | 0.015933 | 1 | 0.0055245 | 0.2091 | 0.019909 | 0 | 0.42181 | 0.13693 | 0.01292 | 1 | 2 | 3 | 2/3 | 100 | 100 | -0.799 | -0.012 | -1.279 | 0.00081548 | -7.5072e-07 | 1.8443e-10 | -0.15693 | -0.013848 | 0.0014455 | -1.8822e-05 | 6 | 2177 | 1 | 25 | 10 | 10.4 | 2 | 505.912 | 457.553 | 22.6249 | 32.7963 | 30.0005 | 32.7088 | 32.6698 | 5.0993 | 26.3683 | 0 | 22.6328 | 49.6838 | 19.7005 | 101.004 | 100.51
3 | 1608241672.5 | 225 | 20201217 13:47:52 | 13:47:52 | 1149 | _1 | 1608241664.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RECT-4143-20200907-06_33_50 | 15552.9 | 715.4769 | 3262.08 | 0 | 0 | -0.57775 | RECT-611-20201217-13_47_49 | 15332.3 | 836.9518 | 904.97 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | DARK-612-20201217-13_47_51 | 600.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | 1608241664.5 | 79.4173 | 79.7854 | 20.0845 | 19.0843 | 80.195 | 20.0897 | 500.2139 | 101.6017 | 0.099978 | 27.9368 | 28.1696 | 999.9 | 0 | 0 | 10001.5097 | 0 | 189.4403 | 1400.0097 | 0.9 | 0.099999 | 0 | 837.0048 | 4.9998 | 11793.2548 | 11904.7645 | 48.7419 | 51.2419 | 49.937 | 50.187 | 49.897 | 1255.5084 | 139.5013 | 0 | 104.1 | 0 | 836.9518 | -3.9655 | -60.3316 | 11792.5577 | 15 | 1608241598.5 | 13:46:38 | 1608241598.5 | 1608241585 | 25 | 0.441 | -0.001 | -0.799 | -0.012 | 50 | 20 | 0.36 | 0.09 | 0.24255 | -0.13081 | 0.023664 | 1 | -0.37082 | 0.16179 | 0.028294 | 1 | 0.99975 | 0.053213 | 0.0054905 | 1 | 3 | 3 | 3/3 | 100 | 100 | -0.778 | -0.0051 | -0.83836 | 0.00081548 | -7.5072e-07 | 1.8443e-10 | -0.15783 | -0.013848 | 0.0014455 | -1.8822e-05 | 6 | 2177 | 1 | 25 | 1.2 | 1.5 | 2 | 506.289 | 457.767 | 23.2398 | 32.7442 | 29.9989 | 32.6695 | 32.6169 | 6.4101 | 28.7905 | 0 | 23.2713 | 80.0312 | 19.0048 | 101.036 | 100.541
4 | 1608241769.5 | 322 | 20201217 13:49:29 | 13:49:29 | 1149 | _1 | 1608241761.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RECT-4143-20200907-06_33_50 | 15552.9 | 715.4769 | 3262.08 | 0 | 0 | -0.57775 | RECT-613-20201217-13_49_26 | 15333 | 828.8062 | 900.23 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | DARK-614-20201217-13_49_28 | 588.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | 1608241761.5 | 99.8426 | 101.0414 | 20.0751 | 18.4637 | 100.6063 | 20.0806 | 500.2115 | 101.5963 | 0.09996 | 28.0032 | 28.2104 | 999.9 | 0 | 0 | 10004.499 | 0 | 198.3982 | 1399.9916 | 0.9 | 0.1 | 0 | 828.8363 | 4.9998 | 11679.4065 | 11904.5871 | 48.677 | 51.125 | 49.8669 | 50.042 | 49.812 | 1255.4916 | 139.5 | 0 | 96 | 0 | 828.8062 | -4.4451 | -60.359 | 11679.0731 | 15 | 1608241598.5 | 13:46:38 | 1608241598.5 | 1608241585 | 25 | 0.441 | -0.001 | -0.799 | -0.012 | 50 | 20 | 0.36 | 0.09 | 0.86214 | -0.17488 | 0.018565 | 1 | -1.1986 | 0.16233 | 0.020612 | 1 | 1.6094 | 0.1524 | 0.018875 | 1 | 3 | 3 | 3/3 | 100 | 100 | -0.764 | -0.0058 | -0.83836 | 0.00081548 | -7.5072e-07 | 1.8443e-10 | -0.15783 | -0.013848 | 0.0014455 | -1.8822e-05 | 6 | 2177 | 1 | 25 | 2.9 | 3.1 | 2 | 506.879 | 458.142 | 23.1186 | 32.5514 | 30.0001 | 32.5426 | 32.5003 | 7.3374 | 30.6968 | 0 | 23.1107 | 101.192 | 18.4851 | 101.07 | 100.564
5 | 1608241852.5 | 405 | 20201217 13:50:52 | 13:50:52 | 1149 | _1 | 1608241844.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RECT-4143-20200907-06_33_50 | 15552.9 | 715.4769 | 3262.08 | 0 | 0 | -0.57775 | RECT-615-20201217-13_50_49 | 15332.7 | 820.8602 | 900.22 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | DARK-616-20201217-13_50_51 | 577.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | 1608241844.5 | 149.343 | 152.7808 | 20.0715 | 18.0988 | 150.0752 | 20.077 | 500.2173 | 101.5964 | 0.1 | 27.9967 | 28.1831 | 999.9 | 0 | 0 | 9997.1135 | 0 | 206.8587 | 1399.9639 | 0.9 | 0.1 | 0 | 820.8762 | 4.9998 | 11576.9355 | 11904.3645 | 48.687 | 51.1128 | 49.8506 | 50 | 49.812 | 1255.4674 | 139.4965 | 0 | 82.5 | 0 | 820.8602 | -4.4626 | -60.3487 | 11576.0846 | 15 | 1608241598.5 | 13:46:38 | 1608241598.5 | 1608241585 | 25 | 0.441 | -0.001 | -0.799 | -0.012 | 50 | 20 | 0.36 | 0.09 | 2.6167 | -0.14408 | 0.024797 | 1 | -3.4381 | 0.18549 | 0.030419 | 1 | 1.9706 | 0.12621 | 0.015925 | 1 | 3 | 3 | 3/3 | 100 | 100 | -0.732 | -0.0057 | -0.83836 | 0.00081548 | -7.5072e-07 | 1.8443e-10 | -0.15783 | -0.013848 | 0.0014455 | -1.8822e-05 | 6 | 2177 | 1 | 25 | 4.2 | 4.5 | 2 | 507.335 | 458.094 | 22.9713 | 32.4627 | 30.0002 | 32.4721 | 32.4374 | 9.6388 | 31.6579 | 0 | 22.9731 | 153.007 | 18.0109 | 101.079 | 100.56
6 | 1608241929.5 | 482 | 20201217 13:52:09 | 13:52:09 | 1149 | _1 | 1608241921.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RECT-4143-20200907-06_33_50 | 15552.9 | 715.4769 | 3262.08 | 0 | 0 | -0.57775 | RECT-617-20201217-13_52_06 | 15332.3 | 817.6778 | 906.85 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | DARK-618-20201217-13_52_08 | 578.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | 1608241921.5 | 199.1271 | 204.6878 | 19.8976 | 17.7441 | 199.831 | 19.9067 | 500.2103 | 101.599 | 0.099969 | 27.9754 | 28.1459 | 999.9 | 0 | 0 | 10001.1487 | 0 | 213.8424 | 1399.9923 | 0.9 | 0.1 | 0 | 817.7073 | 4.9998 | 11548.5806 | 11904.5968 | 48.7459 | 51.1209 | 49.875 | 50.062 | 49.8709 | 1255.4919 | 139.5003 | 0 | 76.3 | 0 | 817.6778 | -3.3283 | -46.0846 | 11547.9 | 15 | 1608241598.5 | 13:46:38 | 1608241598.5 | 1608241585 | 25 | 0.441 | -0.001 | -0.799 | -0.012 | 50 | 20 | 0.36 | 0.09 | 4.2718 | -0.22222 | 0.028456 | 1 | -5.5617 | 0.19316 | 0.032523 | 1 | 2.1523 | 0.14768 | 0.011041 | 1 | 3 | 3 | 3/3 | 100 | 100 | -0.703 | -0.0089 | -0.83836 | 0.00081548 | -7.5072e-07 | 1.8443e-10 | -0.15783 | -0.013848 | 0.0014455 | -1.8822e-05 | 6 | 2177 | 1 | 25 | 5.5 | 5.7 | 2 | 507.368 | 457.871 | 22.9853 | 32.4398 | 30.0001 | 32.4385 | 32.4038 | 11.9302 | 32.7427 | 0 | 22.9889 | 205.042 | 17.7399 | 101.079 | 100.565
7 | 1608242042.5 | 595 | 20201217 13:54:02 | 13:54:02 | 1149 | _1 | 1608242034.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RECT-4143-20200907-06_33_50 | 15552.9 | 715.4769 | 3262.08 | 0 | 0 | -0.57775 | RECT-619-20201217-13_53_59 | 15332 | 816.4272 | 917.37 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | DARK-620-20201217-13_54_01 | 580.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | 1608242034.75 | 249.8761 | 257.1353 | 19.9359 | 17.8691 | 250.5544 | 19.9443 | 500.2303 | 101.6029 | 0.10002 | 28.0112 | 28.1937 | 999.9 | 0 | 0 | 9999.56 | 0 | 199.0688 | 1399.998 | 0.9 | 0.099998 | 0 | 816.4449 | 4.9998 | 11534.1867 | 11904.6667 | 48.7541 | 51.187 | 49.9287 | 50.1333 | 49.875 | 1255.498 | 139.5 | 0 | 112.4 | 0 | 816.4272 | 0.90865 | 51.2581 | 11534.4731 | 15 | 1608241598.5 | 13:46:38 | 1608241598.5 | 1608241585 | 25 | 0.441 | -0.001 | -0.799 | -0.012 | 50 | 20 | 0.36 | 0.09 | 5.6154 | -0.11067 | 0.02071 | 1 | -7.263 | 0.14291 | 0.026633 | 1 | 2.0691 | -0.1075 | 0.012535 | 1 | 3 | 3 | 3/3 | 100 | 100 | -0.678 | -0.0083 | -0.83836 | 0.00081548 | -7.5072e-07 | 1.8443e-10 | -0.15783 | -0.013848 | 0.0014455 | -1.8822e-05 | 6 | 2177 | 1 | 25 | 7.4 | 7.6 | 2 | 507.225 | 457.87 | 22.8835 | 32.4879 | 30.001 | 32.4599 | 32.4277 | 14.188 | 31.7813 | 0 | 22.8703 | 257.182 | 17.9518 | 101.069 | 100.55
8 | 1608242163 | 715.5 | 20201217 13:56:03 | 13:56:03 | 1149 | _1 | 1608242155 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RECT-4143-20200907-06_33_50 | 15552.9 | 715.4769 | 3262.08 | 0 | 0 | -0.57775 | RECT-621-20201217-13_55_59 | 15331.3 | 828.11 | 953.21 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | DARK-622-20201217-13_56_02 | 582.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | 1608242155 | 399.9148 | 411.3364 | 19.8261 | 18.2105 | 400.5351 | 19.8367 | 500.2113 | 101.6119 | 0.099995 | 27.9925 | 28.1818 | 999.9 | 0 | 0 | 10001.0916 | 0 | 152.7719 | 1400.0029 | 0.9 | 0.1 | 0 | 828.1301 | 4.9998 | 11608.0871 | 11904.6774 | 48.875 | 51.3 | 50 | 50.272 | 50 | 1255.4965 | 139.5065 | 0 | 120.1 | 0 | 828.11 | -1.5814 | -19.0974 | 11607.9692 | 15 | 1608241598.5 | 13:46:38 | 1608241598.5 | 1608241585 | 25 | 0.441 | -0.001 | -0.799 | -0.012 | 50 | 20 | 0.36 | 0.09 | 8.9766 | -0.7461 | 0.058389 | 0 | -11.4217 | 0.89618 | 0.071867 | 0 | 1.6155 | 0.061645 | 0.0063665 | 1 | 1 | 3 | 1/3 | 100 | 100 | -0.62 | -0.0106 | -0.83836 | 0.00081548 | -7.5072e-07 | 1.8443e-10 | -0.15783 | -0.013848 | 0.0014455 | -1.8822e-05 | 6 | 2177 | 1 | 25 | 9.4 | 9.6 | 2 | 506.52 | 457.778 | 22.777 | 32.6734 | 30.0007 | 32.5863 | 32.5508 | 20.5627 | 30.3796 | 0 | 22.7797 | 411.198 | 18.2915 | 101.027 | 100.521
9 | 1608242283.5 | 836 | 20201217 13:58:03 | 13:58:03 | 1149 | _1 | 1608242275.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RECT-4143-20200907-06_33_50 | 15552.9 | 715.4769 | 3262.08 | 0 | 0 | -0.57775 | RECT-623-20201217-13_58_00 | 15330.4 | 834.7048 | 970.78 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | DARK-624-20201217-13_58_02 | 588.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | 1608242275.5 | 499.9631 | 512.2849 | 19.9576 | 18.8332 | 500.6731 | 19.9856 | 500.2098 | 101.6226 | 0.099968 | 28.0043 | 28.2269 | 999.9 | 0 | 0 | 9997.2581 | 0 | 198.4424 | 1399.9842 | 0.9 | 0.1 | 0 | 834.7477 | 4.9998 | 11833.2194 | 11904.5323 | 48.9959 | 51.417 | 50.125 | 50.437 | 50.1209 | 1255.479 | 139.5052 | 0 | 120.1 | 0 | 834.7048 | -5.6128 | -72.4376 | 11832.6846 | 15 | 1608242307.5 | 13:58:27 | 1608242307.5 | 1608242302.5 | 26 | -0.117 | 0.003 | -0.71 | -0.028 | 512 | 19 | 0.21 | 0.06 | 9.7029 | -0.69275 | 0.073723 | 0 | -12.2157 | 0.8704 | 0.090096 | 0 | 1.1458 | -0.23935 | 0.021222 | 0 | 0 | 3 | 0/3 | 100 | 100 | -0.71 | -0.028 | -0.83836 | 0.00081548 | -7.5072e-07 | 1.8443e-10 | -0.15783 | -0.013848 | 0.0014455 | -1.8822e-05 | 6 | 2177 | 1 | 25 | 11.4 | 11.6 | 2 | 506.338 | 458.031 | 22.586 | 32.9015 | 30.0008 | 32.7627 | 32.7201 | 24.5401 | 27.4654 | 0 | 22.5817 | 512.024 | 18.9 | 100.989 | 100.491
10 | 1608242428.6 | 981.1 | 20201217 14:00:28 | 14:00:28 | 1149 | _1 | 1608242420.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RECT-4143-20200907-06_33_50 | 15552.9 | 715.4769 | 3262.08 | 0 | 0 | -0.57775 | RECT-625-20201217-14_00_25 | 15331.6 | 829.8148 | 966.6 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | DARK-626-20201217-14_00_27 | 589.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | 1608242420.85 | 600.0944 | 611.1937 | 19.9709 | 19.1264 | 600.7907 | 19.9758 | 500.2138 | 101.6218 | 0.099986 | 27.9569 | 28.162 | 999.9 | 0 | 0 | 10001.6993 | 0 | 207.1937 | 1399.9903 | 0.9 | 0.1 | 0 | 829.8806 | 4.9998 | 11766.5967 | 11904.5833 | 48.8874 | 51.437 | 50.125 | 50.3791 | 50.062 | 1255.4897 | 139.5007 | 0 | 144.7 | 0 | 829.8148 | -7.2773 | -105.3641 | 11765.7269 | 15 | 1608242307.5 | 13:58:27 | 1608242307.5 | 1608242302.5 | 26 | -0.117 | 0.003 | -0.71 | -0.028 | 512 | 19 | 0.21 | 0.06 | 8.8421 | -1.3708 | 0.10377 | 0 | -11.117 | 1.6346 | 0.12723 | 0 | 0.84461 | -0.012446 | 0.0014746 | 1 | 1 | 3 | 1/3 | 100 | 100 | -0.696 | -0.0052 | -0.95544 | 0.00081548 | -7.5072e-07 | 1.8443e-10 | -0.15504 | -0.013848 | 0.0014455 | -1.8822e-05 | 6 | 2177 | 1 | 25 | 2 | 2.1 | 2 | 506.087 | 459.642 | 23.0327 | 32.9514 | 29.999 | 32.8203 | 32.7614 | 28.3125 | 25.9264 | 0 | 23.0535 | 611.041 | 19.1642 | 100.999 | 100.505
11 | 1608242549.1 | 1101.6 | 20201217 14:02:29 | 14:02:29 | 1149 | _1 | 1608242541.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RECT-4143-20200907-06_33_50 | 15552.9 | 715.4769 | 3262.08 | 0 | 0 | -0.57775 | RECT-627-20201217-14_02_26 | 15332.5 | 825.7639 | 964.24 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | DARK-628-20201217-14_02_28 | 585.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | 1608242541.1 | 699.9583 | 710.9922 | 19.8957 | 19.351 | 700.6475 | 19.9021 | 500.2113 | 101.6166 | 0.099977 | 28.0023 | 28.2155 | 999.9 | 0 | 0 | 10003.9513 | 0 | 203.1901 | 1400.0094 | 0.9 | 0.1 | 0 | 825.822 | 4.9998 | 11685.5 | 11904.7484 | 48.812 | 51.312 | 50 | 50.262 | 49.9512 | 1255.509 | 139.5003 | 0 | 119.7 | 0 | 825.7639 | -7.8256 | -90.9368 | 11684.2346 | 15 | 1608242307.5 | 13:58:27 | 1608242307.5 | 1608242302.5 | 26 | -0.117 | 0.003 | -0.71 | -0.028 | 512 | 19 | 0.21 | 0.06 | 8.8789 | -0.69175 | 0.074013 | 0 | -11.0339 | 0.8789 | 0.086343 | 0 | 0.54467 | -0.018374 | 0.013872 | 1 | 1 | 3 | 1/3 | 100 | 100 | -0.689 | -0.0056 | -0.95544 | 0.00081548 | -7.5072e-07 | 1.8443e-10 | -0.15504 | -0.013848 | 0.0014455 | -1.8822e-05 | 6 | 2177 | 1 | 25 | 4 | 4.1 | 2 | 506.392 | 461.381 | 22.9053 | 32.7296 | 30.0008 | 32.6913 | 32.6465 | 32.0299 | 23.6482 | 0 | 22.8905 | 710.73 | 19.4747 | 101.041 | 100.535
12 | 1608242669.6 | 1222.1 | 20201217 14:04:29 | 14:04:29 | 1149 | _1 | 1608242661.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RECT-4143-20200907-06_33_50 | 15552.9 | 715.4769 | 3262.08 | 0 | 0 | -0.57775 | RECT-629-20201217-14_04_26 | 15332.6 | 821.3904 | 961.04 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | DARK-630-20201217-14_04_28 | 587.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | 1608242661.6 | 799.9682 | 810.9271 | 20.0014 | 19.4417 | 800.6572 | 20.0056 | 500.1931 | 101.617 | 0.099929 | 27.9966 | 28.2278 | 999.9 | 0 | 0 | 10007.3613 | 0 | 208.6025 | 1400.0039 | 0.9 | 0.1 | 0 | 821.4135 | 4.9998 | 11649.6774 | 11904.7 | 48.812 | 51.25 | 49.9959 | 50.312 | 49.937 | 1255.5058 | 139.4981 | 0 | 119.6 | 0 | 821.3904 | -9.665 | -131.8598 | 11649.1962 | 15 | 1608242307.5 | 13:58:27 | 1608242307.5 | 1608242302.5 | 26 | -0.117 | 0.003 | -0.71 | -0.028 | 512 | 19 | 0.21 | 0.06 | 8.7703 | -0.27408 | 0.068632 | 1 | -10.9683 | 0.25321 | 0.077874 | 0 | 0.55954 | 0.014269 | 0.0012464 | 1 | 2 | 3 | 2/3 | 100 | 100 | -0.689 | -0.0045 | -0.95544 | 0.00081548 | -7.5072e-07 | 1.8443e-10 | -0.15504 | -0.013848 | 0.0014455 | -1.8822e-05 | 6 | 2177 | 1 | 25 | 6 | 6.1 | 2 | 506.62 | 462.02 | 22.7668 | 32.6649 | 30.0002 | 32.6391 | 32.6036 | 35.6692 | 23.0132 | 0 | 22.7645 | 810.777 | 19.4839 | 101.045 | 100.533
13 | 1608242790.1 | 1342.6 | 20201217 14:06:30 | 14:06:30 | 1149 | _1 | 1608242782.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RECT-4143-20200907-06_33_50 | 15552.9 | 715.4769 | 3262.08 | 0 | 0 | -0.57775 | RECT-631-20201217-14_06_27 | 15331.9 | 818.8383 | 962.05 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | DARK-632-20201217-14_06_29 | 583.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | 1608242782.1 | 899.9233 | 911.21 | 20.0262 | 19.5147 | 900.6185 | 20.03 | 500.2096 | 101.621 | 0.10001 | 27.993 | 28.2542 | 999.9 | 0 | 0 | 9997.0184 | 0 | 201.4317 | 1399.9903 | 0.89999 | 0.10001 | 0 | 818.8469 | 4.9998 | 11618.0452 | 11904.571 | 48.875 | 51.312 | 50.026 | 50.397 | 50 | 1255.4848 | 139.5055 | 0 | 119.6 | 0 | 818.8383 | -6.4395 | -82.8581 | 11617.5615 | 15 | 1608242307.5 | 13:58:27 | 1608242307.5 | 1608242302.5 | 26 | -0.117 | 0.003 | -0.71 | -0.028 | 512 | 19 | 0.21 | 0.06 | 9.0174 | -0.4621 | 0.043869 | 1 | -11.2866 | 0.49326 | 0.051942 | 0 | 0.51159 | -0.0024453 | 0.00057088 | 1 | 2 | 3 | 2/3 | 100 | 100 | -0.695 | -0.0039 | -0.95544 | 0.00081548 | -7.5072e-07 | 1.8443e-10 | -0.15504 | -0.013848 | 0.0014455 | -1.8822e-05 | 6 | 2177 | 1 | 25 | 8 | 8.1 | 2 | 506.457 | 461.905 | 22.6563 | 32.7406 | 30.0002 | 32.6791 | 32.6409 | 39.2618 | 21.9574 | 0 | 22.6583 | 911.182 | 19.5839 | 101.029 | 100.517
14 | 1608242910.6 | 1463.1 | 20201217 14:08:30 | 14:08:30 | 1149 | _1 | 1608242902.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RECT-4143-20200907-06_33_50 | 15552.9 | 715.4769 | 3262.08 | 0 | 0 | -0.57775 | RECT-633-20201217-14_08_27 | 15331.7 | 835.0492 | 992.22 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | DARK-634-20201217-14_08_29 | 592.07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | 1608242902.6 | 1199.3954 | 1213.0332 | 20.0648 | 19.6408 | 1200.4974 | 20.0858 | 500.2032 | 101.6215 | 0.099962 | 27.9971 | 28.2677 | 999.9 | 0 | 0 | 10003.7306 | 0 | 175.216 | 1399.9897 | 0.9 | 0.1 | 0 | 835.0798 | 4.9998 | 11763.8839 | 11904.5742 | 48.937 | 51.3709 | 50.062 | 50.4573 | 50.062 | 1255.4832 | 139.5065 | 0 | 119.6 | 0 | 835.0492 | -11.725 | -263.1863 | 11762.7615 | 15 | 1608242943.6 | 14:09:03 | 1608242943.6 | 1608242931.6 | 27 | -0.36 | -0.009 | -1.102 | -0.021 | 1213 | 20 | 0.15 | 0.16 | 10.6497 | -2.1644 | 0.1702 | 0 | -13.2969 | 2.699 | 0.21099 | 0 | 0.44283 | -0.05269 | 0.0041128 | 1 | 1 | 3 | 1/3 | 100 | 100 | -1.102 | -0.021 | -0.95544 | 0.00081548 | -7.5072e-07 | 1.8443e-10 | -0.15504 | -0.013848 | 0.0014455 | -1.8822e-05 | 6 | 2177 | 1 | 25 | 10.1 | 10.1 | 2 | 506.15 | 462.685 | 22.6292 | 32.8145 | 30.0001 | 32.7273 | 32.684 | 49.7121 | 20.8282 | 0 | 22.6349 | 1212.88 | 19.6987 | 101.013 | 100.507
15 | 1608243064.6 | 1617.1 | 20201217 14:11:04 | 14:11:04 | 1149 | _1 | 1608243056.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RECT-4143-20200907-06_33_50 | 15552.9 | 715.4769 | 3262.08 | 0 | 0 | -0.57775 | RECT-635-20201217-14_11_01 | 15331.3 | 816.5472 | 963.56 | 0 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | DARK-636-20201217-14_11_03 | 583.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0.5 | 0: Broadleaf | 2 | 1608243056.6 | 1399.7906 | 1411.2555 | 20.1678 | 19.8882 | 1400.9303 | 20.1775 | 500.1937 | 101.6225 | 0.099962 | 27.9983 | 28.2483 | 999.9 | 0 | 0 | 9998.8271 | 0 | 174.6615 | 1400.0329 | 0.9 | 0.1 | 0 | 816.616 | 4.9998 | 11517.3613 | 11904.9516 | 48.929 | 51.3669 | 50.0701 | 50.437 | 50.062 | 1255.5216 | 139.5113 | 0 | 153.3 | 0 | 816.5472 | -8.138 | -147.0838 | 11516.5538 | 15 | 1608242943.6 | 14:09:03 | 1608242943.6 | 1608242931.6 | 27 | -0.36 | -0.009 | -1.102 | -0.021 | 1213 | 20 | 0.15 | 0.16 | 9.2313 | -0.71152 | 0.084602 | 0 | -11.4679 | 0.67764 | 0.095023 | 0 | 0.27881 | 0.087873 | 0.0066525 | 1 | 1 | 3 | 1/3 | 100 | 100 | -1.14 | -0.0096 | -1.3155 | 0.00081548 | -7.5072e-07 | 1.8443e-10 | -0.16426 | -0.013848 | 0.0014455 | -1.8822e-05 | 6 | 2177 | 1 | 25 | 2 | 2.2 | 2 | 506.171 | 463.627 | 22.6728 | 32.8658 | 30 | 32.7723 | 32.7263 | 56.3604 | 18.8647 | 0 | 22.6769 | 1411.27 | 19.9256 | 101.008 | 100.507

## Remarks
File opened | 2020-12-17 13:38:54
Console s/n | 68C-812148
Console ver | Bluestem v.1.4.05
Scripts ver | 2020.04 1.4.05, May 2020
Head s/n | 68H-982138
Head ver | 1.4.2
Head cal | {"h2obspanconc1": "12.36", "h2obspan2b": "0.0724379", "ssa_ref": "34391.2", "h2obspan1": "1.01121", "oxygen": "21", "co2aspanconc1": "2475", "h2oaspan1": "1.00998", "co2bspanconc1": "2475", "ssb_ref": "36665.6", "flowbzero": "0.31736", "co2aspan2": "-0.038086", "co2aspan2b": "0.312119", "co2bzero": "0.949913", "h2obspan2a": "0.0716346", "co2bspan2b": "0.313962", "co2bspan2": "-0.0398483", "h2oaspan2a": "0.0712806", "co2azero": "0.951804", "flowazero": "0.30598", "co2aspanconc2": "314.9", "co2bspanconc2": "314.9", "h2obspan2": "0", "co2aspan2a": "0.314921", "flowmeterzero": "0.991351", "co2bspan2a": "0.316856", "tazero": "0.0668316", "chamberpressurezero": "2.68985", "h2oaspan2": "0", "h2oaspan2b": "0.0719923", "h2oaspanconc2": "0", "co2bspan1": "1.0035", "h2oaspanconc1": "12.36", "h2oazero": "1.03785", "h2obspanconc2": "0", "tbzero": "0.204033", "co2aspan1": "1.0031", "h2obzero": "1.0379"}
Chamber type | 6800-01A
Chamber s/n | MPF-281874
Chamber rev | 0
Chamber cal | 0
Fluorometer | MPF-281874
Flr. Version | 1.4.2
13:38:54 | Stability Definition: A (GasEx): Slp<0.5 Per=15 ΔCO2 (Meas2): Slp<0.2 Per=15 ΔH2O (Meas2): Slp<0.2 Per=15